PB3

PB4

PB2

PB1

B2: Forward/ Reverse control 			B3: Mode of operation

PB1: Run the motor manually in the forward direction.

PB2: Run the motor manually in the reverse direction.

PB3: Run the motor automatically in mode1.

PB4: Run the motor automatically in mode2.