Circuit breakers list

A1 distribution box

4 pole MCB 25A	: disconnect all circuits (lighting, power sockets, motor circuit).

Single pole CB 10A	: disconnect all lighting circuits.

Single pole CB 10A	: disconnect the doorbell circuit.

Single pole CB 16A	: disconnect all power sockets.

Single pole CB 20A	: disconnect heating unit.

B1 distribution box

3 pole CB 16A		: disconnect the power circuit

ELCB			: disconnect the power circuit

TH/OLR		: disconnect the power circuit

Single pole CB 10A	: disconnect the control circuit